** Emergency Eyewash Station
 Weekly Inspection Checklist**

**How to Test:**

* Is the area around the station clear of obstructions?
* Are the eyewashes clean and free of dirt/debris?
* Flush eyewash for 30 seconds weekly
* Is the water clear?
* Is the plumbing free from leakage?
* Do the covers/caps open without assistance?
* **Are the jets working properly
*(both spigots are delivering evenly, and with
sufficient but not too great of a flow when fully activated)?***

**How to obtain assistance:**

**Questions, maintenance requests, training information**

Environmental Health and Safety: 5-5448

**Maintenance requests may also be called in directly**

Service Desk: 5-5050

Facilities Services (Zone Maintenance): Zone A: 5-3730

Zone B: 5-6173 Zone D: 5-3414 Zone E: 5-2968

Zone F: 5-7354

**Emergencies:**

Hold eyes open and flush for at least 15 minutes. CALL 911 and seek medical assistance

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date** | **Initials** | **Comment** |  | **Date** | **Initials** | **Comment** |  | **Date** | **Initials** | **Comment** |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |